## STD
STANDARD
STD sequence measurements (STDOPM) |  |  |  | - sourced from IsoWorks
Collector | Low8 | Low7 | Low6 | Low5 | Low4 | Low3 | Low2 | Ax Fara | Multiplier | High1 | High2 | High3 | High4 | High5 | High6 | High7 | High8 | Time (s) | Ax Mass | Int.Time
Seq 1 | 0 | 0 | 0 | -106365.6815 | -128869.4609 | -103264.3167 | -114853.9162 | -160827.0792 | 413.0053 | 73683.1888 | -91014.9266 | -49925.0639 | -92032.5203 | 0 | 0 | 0 | 0 | 4396.7852 | 203.9755
Seq 2 | 0 | 0 | 0 | -106669.2132 | -128306.8246 | -103554.7023 | -115802.0777 | -160974.9944 | 90432.9308 | -69870.8826 | -62158.4118 | -88603.3919 | -101082.6514 | 0 | 0 | 0 | 0 | 4406.4116 | 204.993
Seq 3 | 0 | 0 | 0 | -106180.0334 | -128526.3385 | -102971.8715 | -114477.7283 | -160549.2547 | 92731.7453 | -40348.2787 | -99927.0955 | -96838.9612 | -100630.4967 | 0 | 0 | 0 | 0 | 4413.5283 | 206.007
Seq 4 | 0 | 0 | 0 | -106335.2839 | -128358.9177 | -103015.7089 | -114216.1303 | -160896.1261 | 10437.6824 | -78769.6368 | -108680.3116 | -97001.5054 | -100523.9553 | 0 | 0 | 0 | 0 | 4420.6421 | 207.0224
Seq 5 | 0 | 0 | 0 | -106448.1259 | -128501.8728 | -102056.8037 | 40936.4142 | -160899.0279 | 27247.8331 | -87659.5553 | -108586.2345 | -96785.5121 | -100834.5335 | 0 | 0 | 0 | 0 | 4426.251 | 208.0351
Seq 6
Seq 7
Seq 8
Seq 9
Seq 10
Seq 11
Seq 12
Seq 13
Seq 14
Seq 15
Seq 16
Seq 17
Seq 18
Seq 19
Seq 20
STD cycle history (STDOPMH) |  |  | - last 3 cycles (optional)
Collector | Low8 |  |  | Low7 |  |  | Low6 |  |  | High1: Low5; High4: Low4; High7: Low3 |  | Low2 |  |  | Ax Fara |  |  | Multiplier |  |  | High1 |  |  | High2 |  |  | High3 |  |  | High4 |  |  | High5 |  |  | High6 |  |  | High7 |  |  | High8 |  |  | Time (s)
| HC1 | HC2 | HC3 | HC1 | HC2 | HC3 | HC1 | HC2 | HC3 | HC1 | HC2 | HC3 | HC1 | HC2 | HC3 | HC1 | HC2 | HC3 | HC1 | HC2 | HC3 | HC1 | HC2 | HC3 | HC1 | HC2 | HC3 | HC1 | HC2 | HC3 | HC1 | HC2 | HC3 | HC1 | HC2 | HC3 | HC1 | HC2 | HC3 | HC1 | HC2 | HC3 | HC1 | HC2 | HC3 | HC1 | HC2 | HC3 | HC1 | HC2 | HC3 | HC1 | HC2 | HC3
Seq 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -106195.3064 | -106365.6815 | -106365.6815 | -128569.9252 | -128869.4609 | -128869.4609 | -103043.2911 | -103264.3167 | -103264.3167 | -115277.6059 | -114853.9162 | -114853.9162 | -160603.8672 | -160827.0792 | -160827.0792 | 421.3055 | 413.0053 | 413.0053 | 76953.1237 | 73683.1888 | 73683.1888 | -90440.8282 | -91014.9266 | -91014.9266 | -48729.8521 | -49925.0639 | -49925.0639 | -91371.2314 | -92032.5203 | -92032.5203 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4359.2017 | 4396.7852 | 4396.7852
Seq 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -106651.716 | -106669.2132 | -106669.2132 | -129164.4046 | -128306.8246 | -128306.8246 | -103098.382 | -103554.7023 | -103554.7023 | -115364.43 | -115802.0777 | -115802.0777 | -160567.1117 | -160974.9944 | -160974.9944 | 92207.0471 | 90432.9308 | 90432.9308 | -69355.698 | -69870.8826 | -69870.8826 | -59941.6051 | -62158.4118 | -62158.4118 | -88161.4476 | -88603.3919 | -88603.3919 | -101002.3864 | -101082.6514 | -101082.6514 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4368.8276 | 4406.4116 | 4406.4116
Seq 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -106543.9156 | -106180.0334 | -106180.0334 | -128642.8706 | -128526.3385 | -128526.3385 | -103589.1249 | -102971.8715 | -102971.8715 | -115621.0752 | -114477.7283 | -114477.7283 | -161057.434 | -160549.2547 | -160549.2547 | 95130.8663 | 92731.7453 | 92731.7453 | -40295.2649 | -40348.2787 | -40348.2787 | -99693.19 | -99927.0955 | -99927.0955 | -97175.0322 | -96838.9612 | -96838.9612 | -101196.3721 | -100630.4967 | -100630.4967 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4375.9414 | 4413.5283 | 4413.5283
Seq 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -105981.4849 | -106335.2839 | -106335.2839 | -128092.8812 | -128358.9177 | -128358.9177 | -103170.0222 | -103015.7089 | -103015.7089 | -114275.714 | -114216.1303 | -114216.1303 | -160248.6625 | -160896.1261 | -160896.1261 | 10586.5764 | 10437.6824 | 10437.6824 | -78730.2163 | -78769.6368 | -78769.6368 | -109113.1104 | -108680.3116 | -108680.3116 | -96682.2746 | -97001.5054 | -97001.5054 | -99923.4753 | -100523.9553 | -100523.9553 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4383.0576 | 4420.6421 | 4420.6421
Seq 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -106463.6954 | -106448.1259 | -106448.1259 | -128583.1743 | -128501.8728 | -128501.8728 | -103991.6048 | -102056.8037 | -102056.8037 | 40937.1647 | 40936.4142 | 40936.4142 | -161147.9093 | -160899.0279 | -160899.0279 | 27932.9736 | 27247.8331 | 27247.8331 | -89634.732 | -87659.5553 | -87659.5553 | -109861.3139 | -108586.2345 | -108586.2345 | -97825.2088 | -96785.5121 | -96785.5121 | -101836.0512 | -100834.5335 | -100834.5335 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4388.666 | 4426.251 | 4426.251
Seq 6
Seq 7
Seq 8
Seq 9
Seq 10
Seq 11
Seq 12
Seq 13
Seq 14
Seq 15
Seq 16
Seq 17
Seq 18
Seq 19
Seq 20
STD sequence measurements - Interpolated (STDOPMTIBI) |  |  |  |  | - (optional)
Collector | Low8 | Low7 | Low6 | Low5 | Low4 | Low3 | Low2 | Ax Fara | Multiplier | High1 | High2 | High3 | High4 | High5 | High6 | High7 | High8 | Time (s)
Seq 1 | 0 | 0 | 0 | -106347.2818 | -128837.1124 | -103240.447 | -114899.6726 | -160802.9734 | 413.9017 | 74036.3261 | -90952.9267 | -49795.9868 | -91961.1043 | 0 | 0 | 0 | 0 | 4392.7263
Seq 2 | 0 | 0 | 0 | -106662.842 | -128619.0917 | -103388.5443 | -115642.7188 | -160826.4737 | 91078.9325 | -69683.2905 | -61351.215 | -88442.4685 | -101053.4248 | 0 | 0 | 0 | 0 | 4392.7263
Seq 3 | 0 | 0 | 0 | -106381.4194 | -128590.8318 | -103313.4826 | -115110.4992 | -160830.5001 | 94059.5085 | -40318.9389 | -99797.6434 | -97024.9555 | -100943.6733 | 0 | 0 | 0 | 0 | 4392.7263
Seq 4 | 0 | 0 | 0 | -106072.5006 | -128161.3198 | -103130.3247 | -114260.3859 | -160415.2242 | 10548.273 | -78740.3573 | -109001.7718 | -96764.3975 | -100077.9503 | 0 | 0 | 0 | 0 | 4392.7263
Seq 5 | 0 | 0 | 0 | -106462.0134 | -128574.3913 | -103782.5882 | 40937.0836 | -161121.0226 | 27858.9578 | -89421.3537 | -109723.5671 | -97712.8903 | -101727.8573 | 0 | 0 | 0 | 0 | 4392.7263
Seq 6
Seq 7
Seq 8
Seq 9
Seq 10
Seq 11
Seq 12
Seq 13
Seq 14
Seq 15
Seq 16
Seq 17
Seq 18
Seq 19
Seq 20
STDOPM corrected for baselines (STDCOPM) |  |  |  | - transferred to CA sheet | [5 empty] | High1: Values corrected for valley BASELINES (STDBL):; High2: Yes
Collector | Low8 | Low7 | Low6 | Low5 | Low4 | Low3 | Low2 | Ax Fara | Multiplier | High1 | High2 | High3 | High4 | High5 | High6 | High7 | High8 | Time (s)
Seq 1 | 0 | 0 | 0 | -150.7645 | -444.018 | -214.882 | 115.1346 | -62.054 | 413.7017 | 161899.7301 | 18085.6723 | 47366.574 | 8934.4775 | 0 | 0 | 0 | 0 | 4392.7263
Seq 2 | 0 | 0 | 0 | -466.3247 | -225.9972 | -362.9793 | -627.9116 | -85.5543 | 91078.7325 | 18180.1134 | 47687.384 | 8720.0922 | -157.8431 | 0 | 0 | 0 | 0 | 4392.7263
Seq 3 | 0 | 0 | 0 | -184.902 | -197.7373 | -287.9177 | -95.692 | -89.5807 | 94059.3085 | 47544.465 | 9240.9556 | 137.6053 | -48.0915 | 0 | 0 | 0 | 0 | 4392.7263
Seq 4 | 0 | 0 | 0 | 124.0168 | 231.7747 | -104.7598 | 754.4213 | 325.6952 | 10548.073 | 9123.0466 | 36.8272 | 398.1632 | 817.6314 | 0 | 0 | 0 | 0 | 4392.7263
Seq 5 | 0 | 0 | 0 | -265.4961 | -181.2968 | -757.0233 | 155951.8908 | -380.1032 | 27858.7578 | -1557.9497 | -684.9681 | -550.3296 | -832.2755 | 0 | 0 | 0 | 0 | 4392.7263
Seq 6 | [17 empty] | 0
Seq 7 | [17 empty] | 0
Seq 8 | [17 empty] | 0
Seq 9 | [17 empty] | 0
Seq 10 | [17 empty] | 0
Seq 11 | [17 empty] | 0
Seq 12 | [17 empty] | 0
Seq 13 | [17 empty] | 0
Seq 14 | [17 empty] | 0
Seq 15 | [17 empty] | 0
Seq 16 | [17 empty] | 0
Seq 17 | [17 empty] | 0
Seq 18 | [17 empty] | 0
Seq 19 | [17 empty] | 0
Seq 20 | [17 empty] | 0
STD valley baselines (STDBL) |  |  | - sourced from IsoWorks {optional}
Collector | Low8 | Low7 | Low6 | Low5 | Low4 | Low3 | Low2 | Ax Fara | Multiplier | High1 | High2 | High3 | High4 | High5 | High6 | High7 | High8 | Time (s) | Ax Mass | Int.Time
BL 1 | 0 | 0 | 0 | -106196.5173 | -128393.0945 | -103025.5649 | -115014.8072 | -160740.9194 | 0.2 | -87863.4039 | -109038.599 | -97162.5607 | -100895.5818 | 0 | 0 | 0 | 0 | 3961.2441 | 203.493
BL 2
BL 3
BL 4
BL 5
BL 6
BL 7
BL 8
BL 9
BL 10
BL 11
BL 12
BL 13
BL 14
BL 15
BL 16
BL 17
BL 18
BL 19
BL 20
STDBL baselines corrected for K-Tails (STDCBL)
Collector: | Low 8 | Low 7 | Low 6 | Low 5 | Low 4 | Low 3 | Low 2 | - | Axial | High 1 | High 2 | High 3 | High 4 | High 5 | High 6 | High 7 | High 8
Seq 1 | 0 | 0 | 0 | -106196.5173 | -128393.0945 | -103025.5649 | -115014.8072 | -160740.9194 | 0.2 | -87863.4039 | -109038.599 | -97162.5607 | -100895.5818 | 0 | 0 | 0 | 0
Seq 2 | 0 | 0 | 0 | -106196.5173 | -128393.0945 | -103025.5649 | -115014.8072 | -160740.9194 | 0.2 | -87863.4039 | -109038.599 | -97162.5607 | -100895.5818 | 0 | 0 | 0 | 0
Seq 3 | 0 | 0 | 0 | -106196.5173 | -128393.0945 | -103025.5649 | -115014.8072 | -160740.9194 | 0.2 | -87863.4039 | -109038.599 | -97162.5607 | -100895.5818 | 0 | 0 | 0 | 0
Seq 4 | 0 | 0 | 0 | -106196.5173 | -128393.0945 | -103025.5649 | -115014.8072 | -160740.9194 | 0.2 | -87863.4039 | -109038.599 | -97162.5607 | -100895.5818 | 0 | 0 | 0 | 0
Seq 5 | 0 | 0 | 0 | -106196.5173 | -128393.0945 | -103025.5649 | -115014.8072 | -160740.9194 | 0.2 | -87863.4039 | -109038.599 | -97162.5607 | -100895.5818 | 0 | 0 | 0 | 0
Seq 6
Seq 7
Seq 8
Seq 9
Seq 10
Seq 11
Seq 12
Seq 13
Seq 14
Seq 15
Seq 16
Seq 17
Seq 18
Seq 19
Seq 20
Note on E119: Ktail formula is:- Zx = (Z1c+(Ktail*Z2c))/(1+Ktail)

## CA
COLLECTOR ARRAY
Seq | Low8 | Low7 | Low6 | Low5 | Low4 | Low3 | Low2 | Ax Fara | Multiplier | High1 | High2 | High3 | High4 | High5 | High6 | High7 | High8 | Time (s)
1 | 0 | 0 | 0 | -150.7645 | -444.018 | -214.882 | 115.1346 | -62.054 | 413.7017 | 161899.7301 | 18085.6723 | 47366.574 | 8934.4775 | 0 | 0 | 0 | 0 | 4392.7263
2 | 0 | 0 | 0 | -466.3247 | -225.9972 | -362.9793 | -627.9116 | -85.5543 | 91078.7325 | 18180.1134 | 47687.384 | 8720.0922 | -157.8431 | 0 | 0 | 0 | 0 | 4392.7263
3 | 0 | 0 | 0 | -184.902 | -197.7373 | -287.9177 | -95.692 | -89.5807 | 94059.3085 | 47544.465 | 9240.9556 | 137.6053 | -48.0915 | 0 | 0 | 0 | 0 | 4392.7263
4 | 0 | 0 | 0 | 124.0168 | 231.7747 | -104.7598 | 754.4213 | 325.6952 | 10548.073 | 9123.0466 | 36.8272 | 398.1632 | 817.6314 | 0 | 0 | 0 | 0 | 4392.7263
5 | 0 | 0 | 0 | -265.4961 | -181.2968 | -757.0233 | 155951.8908 | -380.1032 | 27858.7578 | -1557.9497 | -684.9681 | -550.3296 | -832.2755 | 0 | 0 | 0 | 0 | 4392.7263
6 | [17 empty] | 0
7
8
9
10
11
12
13
14
15
16
17
18
19
20

## IsoWorks
IsoWorks CALCULATIONS
Cycle No: | 0 | Ratios so far: | 88 | Method Name: | #VALUE! |  | Blank Subtract: | #VALUE!
Block No: | 9 | Total ratios: | 1000 | Sample ID: | #VALUE! |  | Sample No: | 18
Cycles: | 0 | Flash Evap: | None | Analysis Mode: | #VALUE!
No. Blocks: | 100 | Beam Interp: | Yes | Filename: | #VALUE!
Sequences: | 5 |  |  | Analysis Name: | #VALUE!
Analysis Formulae |  |  |  |  | Mass Bias
Name | Result | Comment |  |  | Name | Result | Comment
ILF_Pci1 | 413.7017 | i204
ILF_Pci2 | 91078.7325 | i205
ILF_Pci3 | 94059.3085 | i206
ILF_Pci4 | 10548.073 | i207
ILF_Pci5 | 27858.7578 | i208
ILF_Srr1 | 0.0045422 | 204/205
ILF_Srr2 | 1.0327 | 206/205
ILF_Srr3 | 0.11581 | 207/205
ILF_Srr4 | 0.30588 | 208/205
ILF_Srr5 | 8.9172 | 206/207
ILF_Srr7 | 3.3763 | 206/208
ILF_Srr8 | 227.3602 | 206/204
ILF_Srr9 | 25.4968 | 207/204
ILF_Srr10 | 67.3402 | 208/204
Interferences
[5 empty] | Name | Result | Comment

## USER
USER Calculations |  |  | ** NOTE: Only create new calculations using the "Add NEW User Function" button.
Name | Result | Comment | UserT Index | Description | Cycle | Block | Summary | Summarize By

## CYCLE
CYCLE Data |  |  | Data processing ABORTED!
| Function: | i204 | i205 | i206 | i207 | i208 | 204/205 | 206/205 | 207/205 | 208/205 | 206/207 | 206/208 | 206/204 | 207/204 | 208/204
| Column Index | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13
| Mean (After) | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
| Std Dev% (After) | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
| Std Err% (After) | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
| Included | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
| Total | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
| Mean | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
| Std Dev | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
| Std.Dev% | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
| Std Err% | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
| Create Cycle Chart: | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | FALSE
| Create Block Chart: | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | FALSE
| Summarize: | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE
Cycle | Time (s) | 0: Cycle No.:; 1: 88; 2: Block No.:; 3: 9
1 | 167.7707 | 451.5126 | 95131.8319 | 97861.7801 | 11057.6385 | 28915.1761 | 0.0047462 | 1.0287 | 0.11623 | 0.30395 | 8.8502 | 3.3844 | 216.7421 | 24.4902 | 64.0407
2 | 205.3486 | 423.0819 | 91504.7449 | 94067.9409 | 10626.3213 | 27876.8492 | 0.0046236 | 1.028 | 0.11613 | 0.30465 | 8.8524 | 3.3744 | 222.3398 | 25.1165 | 65.89
3 | 242.9242 | 406.3935 | 88074.6073 | 90599.4833 | 10231.5324 | 26702.4245 | 0.0046142 | 1.0287 | 0.11617 | 0.30318 | 8.8549 | 3.3929 | 222.9354 | 25.1764 | 65.7058
4 | 280.5025 | 391.1627 | 84928.4552 | 87338.5721 | 9852.1715 | 25795.9966 | 0.0046058 | 1.0284 | 0.11601 | 0.30374 | 8.8649 | 3.3857 | 223.2794 | 25.1869 | 65.947
5 | 318.0791 | 372.7553 | 81779.2777 | 84187.6912 | 9472.5458 | 24819.1705 | 0.0045581 | 1.0295 | 0.11583 | 0.30349 | 8.8875 | 3.392 | 225.8524 | 25.4122 | 66.583
6 | 355.6572 | 358.7256 | 78241.9445 | 80453.938 | 9056.5507 | 23742.6731 | 0.0045848 | 1.0283 | 0.11575 | 0.30345 | 8.8835 | 3.3886 | 224.2771 | 25.2465 | 66.1862
7 | 393.233 | 337.5543 | 73726.0953 | 75899.2858 | 8591.3059 | 22520.029 | 0.0045785 | 1.0295 | 0.11653 | 0.30546 | 8.8344 | 3.3703 | 224.8506 | 25.4516 | 66.7153
8 | 430.8076 | 317.2339 | 68664.6392 | 70642.4684 | 7961.8209 | 21003.3171 | 0.00462 | 1.0288 | 0.11595 | 0.30588 | 8.8727 | 3.3634 | 222.6826 | 25.0976 | 66.2077
9 | 468.3806 | 287.3764 | 63700.5297 | 65549.3744 | 7413.7404 | 19482.3574 | 0.0045114 | 1.029 | 0.11638 | 0.30584 | 8.8416 | 3.3646 | 228.0959 | 25.798 | 67.7939
10 | 505.9526 | 272.3113 | 59617.7815 | 61213.2 | 6837.8807 | 17956.3644 | 0.0045676 | 1.0268 | 0.1147 | 0.30119 | 8.9521 | 3.409 | 224.7912 | 25.1105 | 65.9406
11 | 543.5261 | 254.7621 | 54895.5657 | 56838.8373 | 6325.6322 | 16634.6937 | 0.0046408 | 1.0354 | 0.11523 | 0.30302 | 8.9855 | 3.4169 | 223.1056 | 24.8296 | 65.295
12 | 689.4736 | 376.2813 | 82308.7412 | 84438.4841 | 9509.3354 | 24833.9547 | 0.0045716 | 1.0259 | 0.11553 | 0.30172 | 8.8795 | 3.4001 | 224.4026 | 25.2719 | 65.9984
13 | 727.0475 | 356.54 | 78735.826 | 80939.2991 | 9174.9814 | 23913.6349 | 0.0045283 | 1.028 | 0.11653 | 0.30372 | 8.8217 | 3.3847 | 227.0133 | 25.7334 | 67.0714
14 | 764.6246 | 347.5411 | 76500.7741 | 78654.8676 | 8926.838 | 23291.9699 | 0.004543 | 1.0282 | 0.11669 | 0.30447 | 8.8111 | 3.3769 | 226.3181 | 25.6857 | 67.0193
15 | 802.2041 | 342.2198 | 74687.8399 | 76896.291 | 8666.8391 | 22661.7549 | 0.004582 | 1.0296 | 0.11604 | 0.30342 | 8.8725 | 3.3932 | 224.6986 | 25.3254 | 66.2199
16 | 839.7787 | 333.861 | 73320.7583 | 75335.8289 | 8497.6537 | 22198.718 | 0.0045534 | 1.0275 | 0.1159 | 0.30276 | 8.8655 | 3.3937 | 225.6503 | 25.4527 | 66.4909
17 | 877.3596 | 330.7729 | 71864.1622 | 73829.6545 | 8339.8391 | 21816.3187 | 0.0046028 | 1.0274 | 0.11605 | 0.30358 | 8.8526 | 3.3841 | 223.2034 | 25.2132 | 65.9556
18 | 914.9346 | 327.078 | 70335.8521 | 72190.8736 | 8151.7125 | 21293.2075 | 0.0046502 | 1.0264 | 0.1159 | 0.30274 | 8.8559 | 3.3903 | 220.7146 | 24.9228 | 65.1013
19 | 952.5069 | 318.2093 | 68806.9133 | 70705.8293 | 7954.8874 | 20921.1575 | 0.0046247 | 1.0276 | 0.11561 | 0.30406 | 8.8884 | 3.3796 | 222.1991 | 24.9989 | 65.7465
20 | 990.0814 | 312.8257 | 67441.7643 | 69385.1348 | 7805.4242 | 20473.3903 | 0.0046385 | 1.0288 | 0.11574 | 0.30357 | 8.8893 | 3.389 | 221.8013 | 24.9514 | 65.4466
21 | 1027.6611 | 304.8013 | 66205.1968 | 68118.11 | 7650.9037 | 20203.4806 | 0.0046039 | 1.0289 | 0.11556 | 0.30516 | 8.9033 | 3.3716 | 223.4837 | 25.1013 | 66.2841
22 | 1065.2333 | 294.4526 | 65055.4477 | 66918.9429 | 7534.9129 | 19889.4342 | 0.0045262 | 1.0286 | 0.11582 | 0.30573 | 8.8812 | 3.3645 | 227.2656 | 25.5896 | 67.5472
23 | 1319.5233 | 589.4464 | 127935.0828 | 131772.7889 | 14824.1981 | 39068.0535 | 0.0046074 | 1.03 | 0.11587 | 0.30537 | 8.889 | 3.3729 | 223.5535 | 25.1494 | 66.2792
24 | 1357.1031 | 584.9863 | 127121.6931 | 130739.8985 | 14741.4467 | 38921.9761 | 0.0046018 | 1.0285 | 0.11596 | 0.30618 | 8.8689 | 3.359 | 223.4923 | 25.1996 | 66.5349
25 | 1394.6787 | 571.89 | 126253.6946 | 129720.7562 | 14607.1185 | 38465.9858 | 0.0045297 | 1.0275 | 0.1157 | 0.30467 | 8.8807 | 3.3723 | 226.8282 | 25.5418 | 67.2612
26 | 1432.2586 | 572.8636 | 125130.1419 | 128519.2984 | 14473.1148 | 38136.2689 | 0.0045781 | 1.0271 | 0.11566 | 0.30477 | 8.8799 | 3.37 | 224.3454 | 25.2645 | 66.5713
27 | 1469.832 | 576.4903 | 123785.9622 | 127231.4087 | 14289.818 | 37498.3935 | 0.0046572 | 1.0278 | 0.11544 | 0.30293 | 8.9036 | 3.393 | 220.7 | 24.7876 | 65.046
28 | 1507.4095 | 571.149 | 122281.3523 | 125827.4031 | 14171.7991 | 37281.2435 | 0.0046708 | 1.029 | 0.1159 | 0.30488 | 8.8787 | 3.3751 | 220.3058 | 24.8128 | 65.2741
29 | 1544.9849 | 568.3251 | 120903.3675 | 124412.3771 | 14046.804 | 36957.4995 | 0.0047007 | 1.029 | 0.11618 | 0.30568 | 8.857 | 3.3664 | 218.9106 | 24.7161 | 65.0288
30 | 1582.5648 | 566.3824 | 119472.6995 | 123115.7124 | 13920.0533 | 36599.6786 | 0.0047407 | 1.0305 | 0.11651 | 0.30634 | 8.8445 | 3.3638 | 217.3721 | 24.5771 | 64.6201
31 | 1620.142 | 543.6463 | 118109.7045 | 121874.8986 | 13780.9293 | 36121.7121 | 0.0046029 | 1.0319 | 0.11668 | 0.30583 | 8.8437 | 3.374 | 224.1805 | 25.3491 | 66.4434
32 | 1657.716 | 537.292 | 116676.3019 | 120361.457 | 13621.895 | 35580.2601 | 0.004605 | 1.0316 | 0.11675 | 0.30495 | 8.8359 | 3.3828 | 224.015 | 25.3529 | 66.2215
33 | 1695.2938 | 534.2838 | 115310.587 | 118834.9521 | 13426.8477 | 34998.7067 | 0.0046334 | 1.0306 | 0.11644 | 0.30352 | 8.8505 | 3.3954 | 222.4192 | 25.1306 | 65.5058
34 | 1841.2516 | 504.0696 | 110494.6891 | 113915.8643 | 12815.48 | 33744.173 | 0.0045619 | 1.031 | 0.11598 | 0.30539 | 8.8889 | 3.3759 | 225.9923 | 25.424 | 66.9435
35 | 1878.8295 | 508.3114 | 109354.6536 | 112706.87 | 12668.6685 | 33431.3571 | 0.0046483 | 1.0307 | 0.11585 | 0.30571 | 8.8965 | 3.3713 | 221.728 | 24.923 | 65.7694
36 | 1916.4049 | 498.3945 | 108093.7507 | 111602.7831 | 12546.5502 | 33048.4049 | 0.0046108 | 1.0325 | 0.11607 | 0.30574 | 8.8951 | 3.3769 | 223.9246 | 25.1739 | 66.3097
37 | 1953.9818 | 487.3053 | 107063.4482 | 110485.666 | 12451.4425 | 32671.3598 | 0.0045516 | 1.032 | 0.1163 | 0.30516 | 8.8733 | 3.3817 | 226.7278 | 25.5516 | 67.045
38 | 1991.5636 | 479.6152 | 105993.1295 | 109459.8116 | 12361.8463 | 32411.4629 | 0.004525 | 1.0327 | 0.11663 | 0.30579 | 8.8546 | 3.3772 | 228.2242 | 25.7745 | 67.5781
39 | 2029.14 | 481.8695 | 105333.6712 | 108597.0767 | 12245.5592 | 32129.2651 | 0.0045747 | 1.031 | 0.11625 | 0.30502 | 8.8683 | 3.38 | 225.3661 | 25.4126 | 66.6763
40 | 2066.7185 | 480.8423 | 104600.1476 | 107763.6955 | 12151.2764 | 31882.9695 | 0.004597 | 1.0302 | 0.11617 | 0.30481 | 8.8685 | 3.38 | 224.1144 | 25.2708 | 66.3065
41 | 2104.3007 | 481.8368 | 103826.8982 | 106914.9845 | 12068.4736 | 31713.7306 | 0.0046408 | 1.0297 | 0.11624 | 0.30545 | 8.859 | 3.3713 | 221.8904 | 25.0468 | 65.8184
42 | 2141.8795 | 480.5248 | 102816.5704 | 105868.8589 | 11946.8892 | 31543.1229 | 0.0046736 | 1.0297 | 0.1162 | 0.30679 | 8.8616 | 3.3563 | 220.3193 | 24.8622 | 65.6431
43 | 2179.4592 | 476.5195 | 101777.0417 | 104849.5195 | 11806.1905 | 31145.8224 | 0.004682 | 1.0302 | 0.116 | 0.30602 | 8.8809 | 3.3664 | 220.032 | 24.7759 | 65.3611
44 | 2217.035 | 461.5134 | 100759.9497 | 103849.4076 | 11686.9063 | 30643.9043 | 0.0045803 | 1.0307 | 0.11599 | 0.30413 | 8.886 | 3.3889 | 225.0193 | 25.323 | 66.3987
45 | 2404.8866 | 796.9874 | 182378.0353 | 187978.6367 | 21235.2704 | 55724.9235 | 0.00437 | 1.0307 | 0.11644 | 0.30555 | 8.8522 | 3.3733 | 235.8615 | 26.6444 | 69.9195
46 | 2442.4615 | 828.6338 | 182533.7836 | 187872.1722 | 21119.2021 | 55536.1055 | 0.0045396 | 1.0292 | 0.1157 | 0.30425 | 8.8958 | 3.3829 | 226.7252 | 25.4868 | 67.0213
47 | 2480.0392 | 829.6793 | 180806.1496 | 186284.475 | 20935.1304 | 55204.1709 | 0.0045888 | 1.0303 | 0.11579 | 0.30532 | 8.8982 | 3.3745 | 224.5259 | 25.2328 | 66.5368
48 | 2517.618 | 829.5112 | 178418.084 | 183914.1339 | 20701.0786 | 54390.3836 | 0.0046493 | 1.0308 | 0.11603 | 0.30485 | 8.8843 | 3.3814 | 221.7139 | 24.9558 | 65.5692
49 | 2555.1984 | 814.2765 | 175793.8941 | 181226.2073 | 20428.2273 | 53570.6919 | 0.004632 | 1.0309 | 0.11621 | 0.30474 | 8.8714 | 3.3829 | 222.561 | 25.0876 | 65.7893
50 | 2592.7789 | 804.2529 | 173046.4789 | 178373.6588 | 20064.6737 | 52718.8484 | 0.0046476 | 1.0308 | 0.11595 | 0.30465 | 8.8899 | 3.3835 | 221.788 | 24.9482 | 65.5501
51 | 2630.3588 | 796.2654 | 170267.5423 | 175364.8476 | 19729.2738 | 51857.403 | 0.0046766 | 1.0299 | 0.11587 | 0.30456 | 8.8886 | 3.3817 | 220.2342 | 24.7773 | 65.1258
52 | 2667.9414 | 775.5274 | 167343.5972 | 172350.5648 | 19430.1637 | 51007.361 | 0.0046343 | 1.0299 | 0.11611 | 0.30481 | 8.8703 | 3.3789 | 222.2366 | 25.0541 | 65.7712
53 | 2705.5237 | 755.3872 | 164344.1049 | 169200.4806 | 19023.5983 | 50109.2508 | 0.0045964 | 1.0296 | 0.11575 | 0.3049 | 8.8942 | 3.3766 | 223.9917 | 25.1839 | 66.3358
54 | 2743.1041 | 737.7958 | 161522.4777 | 166483.8484 | 18764.9945 | 49048.2871 | 0.0045678 | 1.0307 | 0.11618 | 0.30366 | 8.872 | 3.3943 | 225.6503 | 25.4339 | 66.4795
55 | 2780.6841 | 721.4735 | 158651.1112 | 163584.4757 | 18471.2113 | 48329.7529 | 0.0045475 | 1.0311 | 0.11643 | 0.30463 | 8.8562 | 3.3848 | 226.7366 | 25.6021 | 66.9876
56 | 2926.6418 | 1072.6165 | 231630.2736 | 239067.947 | 26943.7141 | 70725.3618 | 0.0046307 | 1.0321 | 0.11632 | 0.30534 | 8.8729 | 3.3802 | 222.883 | 25.1196 | 65.9372
57 | 2964.2202 | 1052.0387 | 227571.5 | 234926.8052 | 26474.666 | 69322.1495 | 0.0046229 | 1.0323 | 0.11634 | 0.30462 | 8.8736 | 3.3889 | 223.3062 | 25.1651 | 65.8932
58 | 3001.7955 | 1019.0621 | 222905.0105 | 229644.1045 | 25885.1233 | 68089.4966 | 0.0045717 | 1.0302 | 0.11613 | 0.30546 | 8.8717 | 3.3727 | 225.3485 | 25.4009 | 66.8158
59 | 3039.376 | 996.2824 | 217656.3734 | 223924.1217 | 25294.8462 | 66442.9929 | 0.0045773 | 1.0288 | 0.11621 | 0.30527 | 8.8526 | 3.3702 | 224.7597 | 25.3892 | 66.6909
60 | 3076.9496 | 974.1059 | 212234.858 | 218444.8656 | 24646.2461 | 64947.2007 | 0.0045898 | 1.0293 | 0.11613 | 0.30602 | 8.8632 | 3.3634 | 224.2517 | 25.3014 | 66.6737
61 | 3114.524 | 959.7738 | 206733.4604 | 212998.3453 | 23966.0945 | 63267.4986 | 0.0046426 | 1.0303 | 0.11593 | 0.30603 | 8.8875 | 3.3666 | 221.9256 | 24.9706 | 65.9192
62 | 3152.1017 | 929.8665 | 201274.1805 | 207549.235 | 23357.8774 | 61497.2595 | 0.0046199 | 1.0312 | 0.11605 | 0.30554 | 8.8856 | 3.3749 | 223.2033 | 25.1196 | 66.1356
63 | 3189.6787 | 912.286 | 195891.5883 | 201815.9256 | 22751.6404 | 59744.5263 | 0.0046571 | 1.0302 | 0.11614 | 0.30499 | 8.8704 | 3.378 | 221.22 | 24.9392 | 65.4888
64 | 3227.2563 | 889.057 | 190705.042 | 196498.7431 | 22118.7418 | 58394.5326 | 0.0046619 | 1.0304 | 0.11598 | 0.3062 | 8.8838 | 3.365 | 221.0193 | 24.8789 | 65.6814
65 | 3264.8319 | 851.2729 | 185765.7226 | 191118.2718 | 21524.1988 | 56679.9356 | 0.0045825 | 1.0288 | 0.11587 | 0.30512 | 8.8792 | 3.3719 | 224.5088 | 25.2847 | 66.5826
66 | 3302.4135 | 830.7417 | 180805.7544 | 186255.0084 | 20881.7839 | 55288.0388 | 0.0045947 | 1.0301 | 0.11549 | 0.30579 | 8.9195 | 3.3688 | 224.2033 | 25.1363 | 66.5526
67 | 3513.9911 | 718.4218 | 156583.0791 | 161161.0292 | 18146.0794 | 47405.8966 | 0.0045881 | 1.0292 | 0.11589 | 0.30275 | 8.8813 | 3.3996 | 224.3265 | 25.2583 | 65.9862
68 | 3551.5701 | 707.8918 | 152527.5318 | 157053.6943 | 17661.9895 | 46277.2817 | 0.0046411 | 1.0297 | 0.1158 | 0.3034 | 8.8922 | 3.3938 | 221.8612 | 24.9501 | 65.3734
69 | 3589.1501 | 687.9403 | 148798.4389 | 153045.2435 | 17285.0867 | 45129.9454 | 0.0046233 | 1.0285 | 0.11616 | 0.3033 | 8.8542 | 3.3912 | 222.4688 | 25.1259 | 65.6015
70 | 3626.7251 | 671.9573 | 145076.0265 | 149276.9078 | 16858.2189 | 43997.8692 | 0.0046318 | 1.029 | 0.1162 | 0.30327 | 8.8548 | 3.3928 | 222.1524 | 25.0882 | 65.4772
71 | 3664.3043 | 659.804 | 141598.9316 | 145684.0781 | 16474.5815 | 43130.7435 | 0.0046597 | 1.0289 | 0.11635 | 0.3046 | 8.843 | 3.3777 | 220.799 | 24.9689 | 65.369
72 | 3701.8875 | 646.3874 | 138171.1824 | 142237.99 | 16061.1483 | 42203.8416 | 0.0046782 | 1.0294 | 0.11624 | 0.30545 | 8.856 | 3.3703 | 220.0507 | 24.8476 | 65.2919
73 | 3739.4672 | 617.8855 | 134907.6848 | 138747.4435 | 15672.921 | 41174.586 | 0.0045801 | 1.0285 | 0.11618 | 0.30521 | 8.8527 | 3.3697 | 224.552 | 25.3654 | 66.6379
74 | 3777.0422 | 609.7703 | 131583.3923 | 135405.8041 | 15265.952 | 40242.9632 | 0.0046341 | 1.029 | 0.11602 | 0.30584 | 8.8698 | 3.3647 | 222.0604 | 25.0356 | 65.9969
75 | 3814.6216 | 593.9931 | 128505.1869 | 132312.6134 | 14883.6242 | 39346.8269 | 0.0046223 | 1.0296 | 0.11582 | 0.30619 | 8.8898 | 3.3627 | 222.7511 | 25.0569 | 66.2412
76 | 3852.2031 | 575.4391 | 125480.8101 | 129260.7954 | 14547.2027 | 38524.5592 | 0.0045859 | 1.0301 | 0.11593 | 0.30702 | 8.8856 | 3.3553 | 224.6298 | 25.2802 | 66.9481
77 | 3889.7754 | 565.3942 | 122727.0235 | 126440.0954 | 14190.9562 | 37549.7856 | 0.0046069 | 1.0303 | 0.11563 | 0.30596 | 8.9099 | 3.3673 | 223.6317 | 25.0992 | 66.4135
78 | 4035.7297 | 519.8751 | 111922.2109 | 115495.1987 | 13008.637 | 34097.0531 | 0.004645 | 1.0319 | 0.11623 | 0.30465 | 8.8783 | 3.3872 | 222.1595 | 25.0226 | 65.587
79 | 4073.3052 | 504.7819 | 109424.0872 | 112877.528 | 12718.9267 | 33427.4576 | 0.0046131 | 1.0316 | 0.11624 | 0.30549 | 8.8748 | 3.3768 | 223.6164 | 25.1969 | 66.2216
80 | 4110.8778 | 497.6341 | 107067.2907 | 110481.6141 | 12479.2261 | 32802.045 | 0.0046479 | 1.0319 | 0.11655 | 0.30637 | 8.8532 | 3.3681 | 222.0138 | 25.0771 | 65.916
81 | 4148.4553 | 483.9255 | 104643.6385 | 107881.6588 | 12243.1589 | 31925.2055 | 0.0046245 | 1.0309 | 0.117 | 0.30509 | 8.8116 | 3.3792 | 222.9303 | 25.2997 | 65.9713
82 | 4186.0293 | 469.584 | 102443.8136 | 105540.984 | 11905.6937 | 31122.4808 | 0.0045838 | 1.0302 | 0.11622 | 0.3038 | 8.8647 | 3.3911 | 224.7542 | 25.3537 | 66.2767
83 | 4223.6057 | 456.9046 | 100263.6883 | 103218.499 | 11652.6831 | 30400.0993 | 0.004557 | 1.0295 | 0.11622 | 0.3032 | 8.8579 | 3.3953 | 225.9082 | 25.5035 | 66.5349
84 | 4261.1875 | 447.2993 | 98271.1873 | 101100.0267 | 11384.7701 | 29830.5644 | 0.0045517 | 1.0288 | 0.11585 | 0.30355 | 8.8803 | 3.3891 | 226.0232 | 25.4522 | 66.6904
85 | 4298.7678 | 443.7753 | 96099.2762 | 99020.8787 | 11205.6363 | 29294.0718 | 0.0046179 | 1.0304 | 0.1166 | 0.30483 | 8.8367 | 3.3802 | 223.1329 | 25.2507 | 66.011
86 | 4336.3496 | 431.3293 | 94011.7547 | 97035.8987 | 10918.5791 | 28740.9272 | 0.004588 | 1.0322 | 0.11614 | 0.30572 | 8.8872 | 3.3762 | 224.9694 | 25.3138 | 66.6334
87 | 4373.9343 | 419.7471 | 92015.1653 | 95036.9783 | 10682.4885 | 28056.8557 | 0.0045617 | 1.0328 | 0.11609 | 0.30492 | 8.8965 | 3.3873 | 226.4149 | 25.4498 | 66.8423
88 | 4392.7263 | 413.7017 | 91078.7325 | 94059.3085 | 10548.073 | 27858.7578 | 0.0045422 | 1.0327 | 0.11581 | 0.30588 | 8.9172 | 3.3763 | 227.3602 | 25.4968 | 67.3402

## BLOCK
BLOCK Data |  |  |  |  | ** WARNING: Do not place equations on this sheet
Blocks:
Function | Calculation | Grand Results | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53 | 54 | 55 | 56 | 57 | 58 | 59 | 60 | 61 | 62 | 63 | 64 | 65 | 66 | 67 | 68 | 69 | 70 | 71 | 72 | 73 | 74 | 75 | 76 | 77 | 78 | 79 | 80 | 81 | 82 | 83 | 84 | 85 | 86 | 87 | 88 | 89 | 90 | 91 | 92 | 93 | 94 | 95 | 96 | 97 | 98 | 99 | 100 | 101 | 102 | 103 | 104 | 105 | 106 | 107 | 108 | 109 | 110 | 111 | 112 | 113 | 114 | 115 | 116 | 117 | 118 | 119 | 120 | 121 | 122 | 123 | 124 | 125 | 126 | 127 | 128 | 129 | 130 | 131 | 132 | 133 | 134 | 135 | 136 | 137 | 138 | 139 | 140 | 141 | 142 | 143 | 144 | 145 | 146 | 147 | 148 | 149 | 150 | 151 | 152 | 153 | 154 | 155 | 156 | 157 | 158 | 159 | 160 | 161 | 162 | 163 | 164 | 165 | 166 | 167 | 168 | 169 | 170 | 171 | 172 | 173 | 174 | 175 | 176 | 177 | 178 | 179 | 180 | 181 | 182 | 183 | 184 | 185 | 186 | 187 | 188 | 189 | 190 | 191 | 192 | 193 | 194 | 195 | 196 | 197 | 198 | 199 | 200 | 201 | 202 | 203 | 204 | 205 | 206 | 207 | 208 | 209 | 210 | 211 | 212 | 213 | 214 | 215 | 216 | 217 | 218 | 219 | 220 | 221 | 222 | 223 | 224 | 225 | 226 | 227 | 228 | 229 | 230 | 231 | 232 | 233 | 234 | 235 | 236 | 237 | 238 | 239 | 240 | 241 | 242 | 243 | 244 | 245 | 246 | 247 | 248 | 249 | 250 | 251 | 252 | 253
i204 | Mean (After) | 535.6988 | 1: 352.079; 2: 331.3257; 3: 565.1595; 4: 485.5275; 5: 789.981; 6: 953.373; 7: 641.3532; 8: 462.5962
| Std Dev% (After) | 31.7934 | 1: 18.2581; 2: 7.1682; 3: 3.2894; 4: 2.762; 5: 4.7931; 6: 8.2871; 7: 8.2129; 8: 7.6785
| Std Err% (After) | 3.5326 | 1: 5.505; 2: 2.1613; 3: 0.99181; 4: 0.83278; 5: 1.4452; 6: 2.4987; 7: 2.4763; 8: 2.3151
| Included | 81 | 1: 11; 2: 11; 3: 11; 4: 11; 5: 11; 6: 11; 7: 11; 8: 11
| Total | 88 | 1: 11; 2: 11; 3: 11; 4: 11; 5: 11; 6: 11; 7: 11; 8: 11
| Mean | 572.6744 | 1: 352.079; 2: 331.3257; 3: 565.1595; 4: 485.5275; 5: 789.981; 6: 953.373; 7: 641.3532; 8: 462.5962
| Std Dev | 207.0146 | 1: 64.2828; 2: 23.75; 3: 18.5906; 4: 13.4104; 5: 37.8647; 6: 79.007; 7: 52.6738; 8: 35.5203
| Std.Dev% | 36.1487 | 1: 18.2581; 2: 7.1682; 3: 3.2894; 4: 2.762; 5: 4.7931; 6: 8.2871; 7: 8.2129; 8: 7.6785
| Std Err% | 3.8535 | 1: 5.505; 2: 2.1613; 3: 0.99181; 4: 0.83278; 5: 1.4452; 6: 2.4987; 7: 2.4763; 8: 2.3151
i205 | Mean (After) | 116297.4912 | 1: 76387.7703; 2: 72296.6614; 3: 122089.1443; 4: 105464.9045; 5: 172282.2962; 6: 206652.1603; 7: 138723.5716; 8: 100658.2587
| Std Dev% (After) | 31.724 | 1: 17.5281; 2: 7.5186; 3: 3.5547; 4: 2.9435; 5: 4.9364; 6: 8.3552; 7: 8.0953; 8: 7.0329
| Std Err% (After) | 3.5249 | 1: 5.2849; 2: 2.2669; 3: 1.0718; 4: 0.88751; 5: 1.4884; 6: 2.5192; 7: 2.4408; 8: 2.1205
| Included | 81 | 1: 11; 2: 11; 3: 11; 4: 11; 5: 11; 6: 11; 7: 11; 8: 11
| Total | 88 | 1: 11; 2: 11; 3: 11; 4: 11; 5: 11; 6: 11; 7: 11; 8: 11
| Mean | 124319.3459 | 1: 76387.7703; 2: 72296.6614; 3: 122089.1443; 4: 105464.9045; 5: 172282.2962; 6: 206652.1603; 7: 138723.5716; 8: 100658.2587
| Std Dev | 44869.8937 | 1: 13389.3213; 2: 5435.6873; 3: 4339.8654; 4: 3104.3965; 5: 8504.6103; 6: 17266.2938; 7: 11230.1363; 8: 7079.181
| Std.Dev% | 36.0924 | 1: 17.5281; 2: 7.5186; 3: 3.5547; 4: 2.9435; 5: 4.9364; 6: 8.3552; 7: 8.0953; 8: 7.0329
| Std Err% | 3.8475 | 1: 5.2849; 2: 2.2669; 3: 1.0718; 4: 0.88751; 5: 1.4884; 6: 2.5192; 7: 2.4408; 8: 2.1205
i206 | Mean (After) | 119767.7419 | 1: 78604.7792; 2: 74310.3014; 3: 125673.7228; 4: 108728.5943; 5: 177512.1365; 6: 212931.2157; 7: 142784.1541; 8: 103795.3249
| Std Dev% (After) | 31.7451 | 1: 17.4529; 2: 7.4694; 3: 3.4441; 4: 2.9928; 5: 4.9282; 6: 8.4109; 7: 8.0705; 8: 7.0232
| Std Err% (After) | 3.5272 | 1: 5.2623; 2: 2.2521; 3: 1.0384; 4: 0.90236; 5: 1.4859; 6: 2.536; 7: 2.4333; 8: 2.1176
| Included | 81 | 1: 11; 2: 11; 3: 11; 4: 11; 5: 11; 6: 11; 7: 11; 8: 11
| Total | 88 | 1: 11; 2: 11; 3: 11; 4: 11; 5: 11; 6: 11; 7: 11; 8: 11
| Mean | 128042.5286 | 1: 78604.7792; 2: 74310.3014; 3: 125673.7228; 4: 108728.5943; 5: 177512.1365; 6: 212931.2157; 7: 142784.1541; 8: 103795.3249
| Std Dev | 46258.6996 | 1: 13718.8438; 2: 5550.5486; 3: 4328.3363; 4: 3254.0232; 5: 8748.1036; 6: 17909.4117; 7: 11523.3706; 8: 7289.7638
| Std.Dev% | 36.1276 | 1: 17.4529; 2: 7.4694; 3: 3.4441; 4: 2.9928; 5: 4.9282; 6: 8.4109; 7: 8.0705; 8: 7.0232
| Std Err% | 3.8512 | 1: 5.2623; 2: 2.2521; 3: 1.0384; 4: 0.90236; 5: 1.4859; 6: 2.536; 7: 2.4333; 8: 2.1176
i207 | Mean (After) | 13497.1432 | 1: 8857.0127; 2: 8383.0298; 3: 14173.0932; 4: 12249.9348; 5: 19991.1658; 6: 23985.9029; 7: 16095.251; 8: 11704.352
| Std Dev% (After) | 31.7062 | 1: 17.7485; 2: 7.6501; 3: 3.2589; 4: 2.926; 5: 4.8871; 6: 8.5237; 7: 8.1389; 8: 7.1554
| Std Err% (After) | 3.5229 | 1: 5.3514; 2: 2.3066; 3: 0.98261; 4: 0.88221; 5: 1.4735; 6: 2.57; 7: 2.454; 8: 2.1574
| Included | 81 | 1: 11; 2: 11; 3: 11; 4: 11; 5: 11; 6: 11; 7: 11; 8: 11
| Total | 88 | 1: 11; 2: 11; 3: 11; 4: 11; 5: 11; 6: 11; 7: 11; 8: 11
| Mean | 14429.9678 | 1: 8857.0127; 2: 8383.0298; 3: 14173.0932; 4: 12249.9348; 5: 19991.1658; 6: 23985.9029; 7: 16095.251; 8: 11704.352
| Std Dev | 5209.9764 | 1: 1571.9839; 2: 641.3099; 3: 461.8932; 4: 358.4295; 5: 976.9846; 6: 2044.4818; 7: 1309.9764; 8: 837.4931
| Std.Dev% | 36.1053 | 1: 17.7485; 2: 7.6501; 3: 3.2589; 4: 2.926; 5: 4.8871; 6: 8.5237; 7: 8.1389; 8: 7.1554
| Std Err% | 3.8488 | 1: 5.3514; 2: 2.3066; 3: 0.98261; 4: 0.88221; 5: 1.4735; 6: 2.57; 7: 2.454; 8: 2.1574
i208 | Mean (After) | 35445.4994 | 1: 23222.6411; 2: 21954.2746; 3: 37239.0708; 4: 32215.052; 5: 52499.7435; 6: 63127.1812; 7: 42271.2999; 8: 30686.8653
| Std Dev% (After) | 31.7905 | 1: 17.553; 2: 7.2774; 3: 3.6092; 4: 2.9759; 5: 5.0165; 6: 8.3007; 7: 7.6477; 8: 7.0493
| Std Err% (After) | 3.5323 | 1: 5.2924; 2: 2.1942; 3: 1.0882; 4: 0.89728; 5: 1.5125; 6: 2.5028; 7: 2.3059; 8: 2.1254
| Included | 81 | 1: 11; 2: 11; 3: 11; 4: 11; 5: 11; 6: 11; 7: 11; 8: 11
| Total | 88 | 1: 11; 2: 11; 3: 11; 4: 11; 5: 11; 6: 11; 7: 11; 8: 11
| Mean | 37902.016 | 1: 23222.6411; 2: 21954.2746; 3: 37239.0708; 4: 32215.052; 5: 52499.7435; 6: 63127.1812; 7: 42271.2999; 8: 30686.8653
| Std Dev | 13716.6742 | 1: 4076.279; 2: 1597.7045; 3: 1344.029; 4: 958.7016; 5: 2633.6344; 6: 5240.0135; 7: 3232.7743; 8: 2163.2068
| Std.Dev% | 36.1898 | 1: 17.553; 2: 7.2774; 3: 3.6092; 4: 2.9759; 5: 5.0165; 6: 8.3007; 7: 7.6477; 8: 7.0493
| Std Err% | 3.8578 | 1: 5.2924; 2: 2.1942; 3: 1.0882; 4: 0.89728; 5: 1.5125; 6: 2.5028; 7: 2.3059; 8: 2.1254
204/205 | Mean (After) | 0.0046044 | 1: 0.0045993; 2: 0.004584; 3: 0.0046298; 4: 0.0046042; 5: 0.004608; 6: 0.0046137; 7: 0.0046229; 8: 0.0045939
| Std Dev% (After) | 0.86859 | 1: 0.61296; 2: 0.95024; 3: 1.2792; 4: 1.1186; 5: 1.0152; 6: 0.70069; 7: 0.67064; 8: 0.82552
| Std Err% (After) | 0.095341 | 1: 0.20432; 2: 0.28651; 3: 0.38569; 4: 0.33726; 5: 0.32103; 6: 0.21126; 7: 0.20221; 8: 0.2489
| Included | 83 | 1: 9; 2: 11; 3: 11; 4: 11; 5: 10; 6: 11; 7: 11; 8: 11
| Total | 88 | 1: 11; 2: 11; 3: 11; 4: 11; 5: 11; 6: 11; 7: 11; 8: 11
| Mean | 0.0046049 | 1: 0.0046046; 2: 0.004584; 3: 0.0046298; 4: 0.0046042; 5: 0.0045863; 6: 0.0046137; 7: 0.0046229; 8: 0.0045939
| Std Dev | 5.2815e-05 | 1: 5.9456e-05; 2: 4.3559e-05; 3: 5.9224e-05; 4: 5.15e-05; 5: 8.4376e-05; 6: 3.2328e-05; 7: 3.1003e-05; 8: 3.7924e-05
| Std.Dev% | 1.1469 | 1: 1.2912; 2: 0.95024; 3: 1.2792; 4: 1.1186; 5: 1.8397; 6: 0.70069; 7: 0.67064; 8: 0.82552
| Std Err% | 0.12226 | 1: 0.38932; 2: 0.28651; 3: 0.38569; 4: 0.33726; 5: 0.5547; 6: 0.21126; 7: 0.20221; 8: 0.2489
206/205 | Mean (After) | 1.0298 | 1: 1.0288; 2: 1.0279; 3: 1.0294; 4: 1.0309; 5: 1.0304; 6: 1.0303; 7: 1.0293; 8: 1.0312
| Std Dev% (After) | 0.1252 | 1: 0.048825; 2: 0.10761; 3: 0.15836; 4: 0.10035; 5: 0.059304; 6: 0.1136; 7: 0.057654; 8: 0.12841
| Std Err% (After) | 0.013911 | 1: 0.016275; 2: 0.032446; 3: 0.047747; 4: 0.030258; 5: 0.017881; 6: 0.034252; 7: 0.017383; 8: 0.038717
| Included | 81 | 1: 9; 2: 11; 3: 11; 4: 11; 5: 11; 6: 11; 7: 11; 8: 11
| Total | 88 | 1: 11; 2: 11; 3: 11; 4: 11; 5: 11; 6: 11; 7: 11; 8: 11
| Mean | 1.0298 | 1: 1.0292; 2: 1.0279; 3: 1.0294; 4: 1.0309; 5: 1.0304; 6: 1.0303; 7: 1.0293; 8: 1.0312
| Std Dev | 0.0016153 | 1: 0.0021952; 2: 0.0011061; 3: 0.0016302; 4: 0.0010346; 5: 0.00061105; 6: 0.0011705; 7: 0.00059343; 8: 0.0013241
| Std.Dev% | 0.15685 | 1: 0.2133; 2: 0.10761; 3: 0.15836; 4: 0.10035; 5: 0.059304; 6: 0.1136; 7: 0.057654; 8: 0.12841
| Std Err% | 0.01672 | 1: 0.064312; 2: 0.032446; 3: 0.047747; 4: 0.030258; 5: 0.017881; 6: 0.034252; 7: 0.017383; 8: 0.038717
207/205 | Mean (After) | 0.11607 | 1: 0.11611; 2: 0.11594; 3: 0.1161; 4: 0.1161; 5: 0.11604; 6: 0.11611; 7: 0.11602; 8: 0.1162
| Std Dev% (After) | 0.21985 | 1: 0.21833; 2: 0.32331; 3: 0.38042; 4: 0.12716; 5: 0.22031; 6: 0.13469; 7: 0.19293; 8: 0.21833
| Std Err% (After) | 0.02458 | 1: 0.072777; 2: 0.097482; 3: 0.1147; 4: 0.040211; 5: 0.066425; 6: 0.042594; 7: 0.058171; 8: 0.069041
| Included | 80 | 1: 9; 2: 11; 3: 11; 4: 10; 5: 11; 6: 10; 7: 11; 8: 10
| Total | 88 | 1: 11; 2: 11; 3: 11; 4: 11; 5: 11; 6: 11; 7: 11; 8: 11
| Mean | 0.11606 | 1: 0.1159; 2: 0.11594; 3: 0.1161; 4: 0.11615; 5: 0.11604; 6: 0.11605; 7: 0.11602; 8: 0.11627
| Std Dev | 0.00034806 | 1: 0.00053; 2: 0.00037486; 3: 0.00044167; 4: 0.00021114; 5: 0.00025564; 6: 0.00023794; 7: 0.00022384; 8: 0.00034129
| Std.Dev% | 0.2999 | 1: 0.45729; 2: 0.32331; 3: 0.38042; 4: 0.18178; 5: 0.22031; 6: 0.20503; 7: 0.19293; 8: 0.29354
| Std Err% | 0.031969 | 1: 0.13788; 2: 0.097482; 3: 0.1147; 4: 0.054808; 5: 0.066425; 6: 0.061818; 7: 0.058171; 8: 0.088505
208/205 | Mean (After) | 0.30486 | 1: 0.30399; 2: 0.30372; 3: 0.30501; 4: 0.30546; 5: 0.30483; 6: 0.30549; 7: 0.30482; 8: 0.30486
| Std Dev% (After) | 0.32094 | 1: 0.46082; 2: 0.37295; 3: 0.34617; 4: 0.22726; 5: 0.12219; 6: 0.16041; 7: 0.47103; 8: 0.32982
| Std Err% (After) | 0.035228 | 1: 0.13894; 2: 0.11245; 3: 0.10437; 4: 0.068522; 5: 0.03864; 6: 0.048365; 7: 0.14202; 8: 0.099444
| Included | 83 | 1: 11; 2: 11; 3: 11; 4: 11; 5: 10; 6: 11; 7: 11; 8: 11
| Total | 88 | 1: 11; 2: 11; 3: 11; 4: 11; 5: 11; 6: 11; 7: 11; 8: 11
| Mean | 0.30476 | 1: 0.30399; 2: 0.30372; 3: 0.30501; 4: 0.30546; 5: 0.30472; 6: 0.30549; 7: 0.30482; 8: 0.30486
| Std Dev | 0.0011473 | 1: 0.0014008; 2: 0.0011327; 3: 0.0010559; 4: 0.00069419; 5: 0.00049794; 6: 0.00049003; 7: 0.0014358; 8: 0.0010055
| Std.Dev% | 0.37645 | 1: 0.46082; 2: 0.37295; 3: 0.34617; 4: 0.22726; 5: 0.16341; 6: 0.16041; 7: 0.47103; 8: 0.32982
| Std Err% | 0.04013 | 1: 0.13894; 2: 0.11245; 3: 0.10437; 4: 0.068522; 5: 0.04927; 6: 0.048365; 7: 0.14202; 8: 0.099444
206/207 | Mean (After) | 8.872 | 1: 8.8602; 2: 8.8655; 3: 8.8666; 4: 8.8757; 5: 8.8794; 6: 8.8764; 7: 8.8718; 8: 8.869
| Std Dev% (After) | 0.19983 | 1: 0.20613; 2: 0.32193; 3: 0.24467; 4: 0.16512; 5: 0.17956; 6: 0.091129; 7: 0.23967; 8: 0.32659
| Std Err% (After) | 0.022203 | 1: 0.06871; 2: 0.097065; 3: 0.07377; 4: 0.049785; 5: 0.054139; 6: 0.030376; 7: 0.072264; 8: 0.09847
| Included | 81 | 1: 9; 2: 11; 3: 11; 4: 11; 5: 11; 6: 9; 7: 11; 8: 11
| Total | 88 | 1: 11; 2: 11; 3: 11; 4: 11; 5: 11; 6: 11; 7: 11; 8: 11
| Mean | 8.8733 | 1: 8.88; 2: 8.8655; 3: 8.8666; 4: 8.8757; 5: 8.8794; 6: 8.8782; 7: 8.8718; 8: 8.869
| Std Dev | 0.025927 | 1: 0.04744; 2: 0.028541; 3: 0.021694; 4: 0.014655; 5: 0.015944; 6: 0.017071; 7: 0.021263; 8: 0.028965
| Std.Dev% | 0.2922 | 1: 0.53424; 2: 0.32193; 3: 0.24467; 4: 0.16512; 5: 0.17956; 6: 0.19229; 7: 0.23967; 8: 0.32659
| Std Err% | 0.031148 | 1: 0.16108; 2: 0.097065; 3: 0.07377; 4: 0.049785; 5: 0.054139; 6: 0.057976; 7: 0.072264; 8: 0.09847
206/208 | Mean (After) | 3.3784 | 1: 3.3857; 2: 3.3844; 3: 3.375; 4: 3.377; 5: 3.38; 6: 3.3712; 7: 3.3768; 8: 3.3825
| Std Dev% (After) | 0.28277 | 1: 0.50532; 2: 0.3106; 3: 0.33687; 4: 0.1876; 5: 0.11834; 6: 0.16261; 7: 0.44552; 8: 0.24057
| Std Err% (After) | 0.031227 | 1: 0.15236; 2: 0.093648; 3: 0.10157; 4: 0.059324; 5: 0.037423; 6: 0.051422; 7: 0.13433; 8: 0.072536
| Included | 82 | 1: 11; 2: 11; 3: 11; 4: 10; 5: 10; 6: 10; 7: 11; 8: 11
| Total | 88 | 1: 11; 2: 11; 3: 11; 4: 11; 5: 11; 6: 11; 7: 11; 8: 11
| Mean | 3.3792 | 1: 3.3857; 2: 3.3844; 3: 3.375; 4: 3.3751; 5: 3.3813; 6: 3.3728; 7: 3.3768; 8: 3.3825
| Std Dev | 0.011596 | 1: 0.017108; 2: 0.010512; 3: 0.011369; 4: 0.0086508; 5: 0.0057295; 6: 0.0074597; 7: 0.015044; 8: 0.0081373
| Std.Dev% | 0.34315 | 1: 0.50532; 2: 0.3106; 3: 0.33687; 4: 0.25631; 5: 0.16944; 6: 0.22117; 7: 0.44552; 8: 0.24057
| Std Err% | 0.03658 | 1: 0.15236; 2: 0.093648; 3: 0.10157; 4: 0.077282; 5: 0.05109; 6: 0.066686; 7: 0.13433; 8: 0.072536
206/204 | Mean (After) | 223.6241 | 1: 223.7905; 2: 224.25; 3: 222.3748; 4: 223.9399; 5: 223.6163; 6: 223.3299; 7: 222.6621; 8: 224.4803
| Std Dev% (After) | 0.84465 | 1: 0.53359; 2: 0.97267; 3: 1.2431; 4: 1.1902; 5: 1.0102; 6: 0.65043; 7: 0.67745; 8: 0.81175
| Std Err% (After) | 0.093276 | 1: 0.17786; 2: 0.29327; 3: 0.37482; 4: 0.35887; 5: 0.31945; 6: 0.19611; 7: 0.20426; 8: 0.24475
| Included | 82 | 1: 9; 2: 11; 3: 11; 4: 11; 5: 10; 6: 11; 7: 11; 8: 11
| Total | 88 | 1: 11; 2: 11; 3: 11; 4: 11; 5: 11; 6: 11; 7: 11; 8: 11
| Mean | 223.6635 | 1: 223.5411; 2: 224.25; 3: 222.3748; 4: 223.9399; 5: 224.7295; 6: 223.3299; 7: 222.6621; 8: 224.4803
| Std Dev | 2.6007 | 1: 2.8096; 2: 2.1812; 3: 2.7644; 4: 2.6654; 5: 4.2689; 6: 1.4526; 7: 1.5084; 8: 1.8222
| Std.Dev% | 1.1628 | 1: 1.2569; 2: 0.97267; 3: 1.2431; 4: 1.1902; 5: 1.8996; 6: 0.65043; 7: 0.67745; 8: 0.81175
| Std Err% | 0.12395 | 1: 0.37896; 2: 0.29327; 3: 0.37482; 4: 0.35887; 5: 0.57275; 6: 0.19611; 7: 0.20426; 8: 0.24475
207/204 | Mean (After) | 25.1908 | 1: 25.1809; 2: 25.2951; 3: 25.0801; 4: 25.2308; 5: 25.1762; 6: 25.155; 7: 25.0978; 8: 25.3106
| Std Dev% (After) | 0.86319 | 1: 0.73043; 2: 1.1501; 3: 1.2341; 4: 1.224; 5: 1.0509; 6: 0.70377; 7: 0.6148; 8: 0.64595
| Std Err% (After) | 0.095909 | 1: 0.24348; 2: 0.34678; 3: 0.3721; 4: 0.36904; 5: 0.33231; 6: 0.2122; 7: 0.18537; 8: 0.19476
| Included | 81 | 1: 9; 2: 11; 3: 11; 4: 11; 5: 10; 6: 11; 7: 11; 8: 11
| Total | 88 | 1: 11; 2: 11; 3: 11; 4: 11; 5: 11; 6: 11; 7: 11; 8: 11
| Mean | 25.2067 | 1: 25.1742; 2: 25.2951; 3: 25.0801; 4: 25.2308; 5: 25.3097; 6: 25.155; 7: 25.0978; 8: 25.3106
| Std Dev | 0.30267 | 1: 0.33586; 2: 0.29093; 3: 0.30952; 4: 0.30882; 5: 0.50888; 6: 0.17703; 7: 0.1543; 8: 0.16349
| Std.Dev% | 1.2007 | 1: 1.3341; 2: 1.1501; 3: 1.2341; 4: 1.224; 5: 2.0106; 6: 0.70377; 7: 0.6148; 8: 0.64595
| Std Err% | 0.128 | 1: 0.40226; 2: 0.34678; 3: 0.3721; 4: 0.36904; 5: 0.60622; 6: 0.2122; 7: 0.18537; 8: 0.19476
208/204 | Mean (After) | 66.1359 | 1: 66.0523; 2: 66.2619; 3: 65.8897; 4: 66.35; 5: 66.1167; 6: 66.2155; 7: 65.9397; 8: 66.3659
| Std Dev% (After) | 0.85817 | 1: 0.65702; 2: 1.1065; 3: 1.2626; 4: 1.017; 5: 0.97787; 6: 0.69758; 7: 0.86049; 8: 0.75357
| Std Err% (After) | 0.094769 | 1: 0.21901; 2: 0.33364; 3: 0.3807; 4: 0.30663; 5: 0.30923; 6: 0.21033; 7: 0.25945; 8: 0.22721
| Included | 82 | 1: 9; 2: 11; 3: 11; 4: 11; 5: 10; 6: 11; 7: 11; 8: 11
| Total | 88 | 1: 11; 2: 11; 3: 11; 4: 11; 5: 11; 6: 11; 7: 11; 8: 11
| Mean | 66.1891 | 1: 66.0277; 2: 66.2619; 3: 65.8897; 4: 66.35; 5: 66.4624; 6: 66.2155; 7: 65.9397; 8: 66.3659
| Std Dev | 0.7854 | 1: 0.92627; 2: 0.73322; 3: 0.83194; 4: 0.67476; 5: 1.3003; 6: 0.46191; 7: 0.56741; 8: 0.50011
| Std.Dev% | 1.1866 | 1: 1.4028; 2: 1.1065; 3: 1.2626; 4: 1.017; 5: 1.9565; 6: 0.69758; 7: 0.86049; 8: 0.75357
| Std Err% | 0.12649 | 1: 0.42298; 2: 0.33364; 3: 0.3807; 4: 0.30663; 5: 0.58991; 6: 0.21033; 7: 0.25945; 8: 0.22721
|  | TRUE | 1: TRUE; 2: TRUE; 3: TRUE; 4: TRUE; 5: TRUE; 6: TRUE; 7: TRUE; 8: TRUE
Note on C3: The RUNNING GRAND MEAN.

## C-CHARTS
CYCLE Graphs | Data processing ABORTED! | Warning - Don't place your graphs on this sheet ! | No. Wide: | 2 | Width: | 420 | Height: | 190

## B-CHARTS
BLOCK Graphs | Warning - Don't place your graphs on this sheet ! | No. Wide: | 2 | Width: | 420 | Height: | 190

## MONITORING
MONITORING Charts
| Cycle | FAC Temp | CFil-1 | SFil-1 | CFil-1 O/C | SFil-1 O/C | Pyrometer | Source IG | Analyser IG | Pirani Gauge
| 1 | 16.4 | 2.33 | -9.0124e-18 | 0 | 0 | 1193.3333 | 6.5464e-09 | 3.5645e-09 | 183
| 5 | 16.4 | 2.32 | -9.0124e-18 | 0 | 0 | 1186.6667 | 6.1944e-09 | 3.767e-09 | 183
| 10 | 16.4 | 2.33 | -9.0124e-18 | 0 | 0 | 1173.3333 | 5.8614e-09 | 3.5645e-09 | 183
| 15 | 16.4 | 2.41 | -9.0124e-18 | 0 | 0 | 1186.6667 | 5.8614e-09 | 3.3729e-09 | 183
| 20 | 16.4 | 2.41 | -9.0124e-18 | 0 | 0 | 1180 | 5.8614e-09 | 3.5645e-09 | 183
| 25 | 16.4 | 2.49 | -9.0124e-18 | 0 | 0 | 1213.3333 | 5.8614e-09 | 3.5645e-09 | 183
| 30 | 16.4 | 2.49 | -9.0124e-18 | 0 | 0 | 1213.3333 | 5.5463e-09 | 3.5645e-09 | 183
| 35 | 16.4 | 2.49 | -9.0124e-18 | 0 | 0 | 1213.3333 | 5.5463e-09 | 3.3729e-09 | 183
| 40 | 16.4 | 2.49 | -9.0124e-18 | 0 | 0 | 1213.3333 | 5.5463e-09 | 3.5645e-09 | 184
| 45 | 16.4 | 2.57 | -9.0124e-18 | 0 | 0 | 1240 | 5.8614e-09 | 3.3729e-09 | 183
| 50 | 16.4 | 2.56 | -9.0124e-18 | 0 | 0 | 1240 | 5.8614e-09 | 3.3729e-09 | 183
| 55 | 16.4 | 2.56 | -9.0124e-18 | 0 | 0 | 1240 | 5.8614e-09 | 3.5645e-09 | 183
| 60 | 16.4 | 2.62 | -9.0124e-18 | 0 | 0 | 1260 | 5.8614e-09 | 3.5645e-09 | 183
| 65 | 16.4 | 2.62 | -9.0124e-18 | 0 | 0 | 1260 | 5.5463e-09 | 3.3729e-09 | 183
| 70 | 16.4 | 2.62 | -9.0124e-18 | 0 | 0 | 1266.6667 | 5.2481e-09 | 3.5645e-09 | 183
| 75 | 16.4 | 2.62 | -9.0124e-18 | 0 | 0 | 1260 | 5.8614e-09 | 3.5645e-09 | 184
| 80 | 16.4 | 2.62 | 0.01 | 0 | 0 | 1260 | 5.5463e-09 | 3.3729e-09 | 183
| 85 | 16.4 | 2.62 | -9.0124e-18 | 0 | 0 | 1266.6667 | 5.2481e-09 | 3.5645e-09 | 183

## TUNING
TUNING PARAMETERS
Collectors | [7 empty] | Mass: | -
Collector: | Low8 | Low7 | Low6 | Low5 | Low4 | Low3 | Low2 | Ax Fara | Multiplier | High1 | High2 | High3 | High4 | High5 | High6 | High7 | High8
Type: | - | - | - | - | - | - | - | - | - | bar: High1 to High8
Position: |  |  |  | 2500 | 1216 | 909 | 900 | 630 | 5000 | High1: 470; High2: 568; High3: 636; High4: 726
Gain: |  |  |  | 0.99646 | 1.0118 | 0.98856 | 1.0086 | 1 | 1 | High1: 1.015; High2: 0.98859; High3: 0.98406; High4: 0.96491
Efficiency: |  |  |  | 1 | 1 | 1 | 1 | 1 | 1 | bar: High1 to High4
Resistor: |  |  |  | 1000000000000 | 1000000000000 | 1000000000000 | 1000000000000 | 1000000000000 | 1000000000000 | High1: 1000000000000; High2: 1000000000000; High3: 1000000000000; High4: 1000000000000
DT (ns): |  |  |  | 0 | 0 | 0 | 0 | 0 | 30.1 | High1: 0; High2: 0; High3: 0; High4: 0
Tau Time: |  |  |  | 3.5 | 3 | 3.5 | 3.5 | 3.5 | 10 | High1: 3.5; High2: 3.5; High3: 3.5; High4: 3.5
Tau Gain: |  |  |  | 86 | 86 | 78 | 78 | 86 | 20 | High1: 86; High2: 86; High3: 86; High4: 86
Current settings:
Operate: | Operating |  |  | Sample Name: | GHR1 20200827-11
Ion Mode: | TI+ |  |  | Analysis Name:
MS Type: | Thermal |  |  | Analysis Method: | Pb-4-5-6-7-8 Daly 10-5-5-5-2 seconds
Sample #: | 18 |  |  | Analysis Mode: | Isotopic
Collector File:
Focus Plates
Extraction | DFocus | DBias | ZFocus | ZBias | Slit | Source | EHT (Kv):
0 | 75.3515 | 55.1625 | 81.8212 | 55.8687 | 70.7657 | 79.6321 | 8000 | Settings (%)
0 | 6366.3004 | 55.4335 | 3631.2576 | 55.7265 | 3186.8132 | 0 | 7978.022 | Readbacks
-181.4126 | 73.4985 |  | 80.7624 |  | 69.9223 |  |  | Readbacks (Scaled %)
Settings |  |  |  |  | Settings
Vacuum (mBar) |  | Status |  |  | Warp Filter
Source IG: | 1.5849e-07 | Los Valve: | Open |  | Entrance | Retard | Exit
Analyser IG: | 3.5645e-09 |  |  |  | 870 | -10.5 | 915 | Settings
Rotary Pi: | <0.01mbar | [6 empty] | Readbacks
[5 empty] | 769.1412 | 7989.5 | 1677.4058 | Voltage (Estimated)
Settings | [6 empty] | Readbacks
Multiple Channel - Ion Counting | [6 empty] | Head Amplifier (Peltier Control)
Channel | Discrim (V) | Multiplier (kV) | Entrance (V) | Status Info. |  |  |  | Operating Status: | Set
1 | - | - | - | HV On: | Operate |  |  | Temperature (°C): | 16.4
2 | 5 | 0 | 0 | Count Trip: | Clear |  |  | Temp Error (°C): | 0.05
3 | 5 | 0 | 0 | Vacuum Trip: | Clear |  |  | Current (Amps): | 0.18322
4 | 5 | 0 | 0 | Daly Trip: | Clear |  | Daly / ETP - Ion Counting
5 | 5 | 0 | 0 | Daly Knob(V): | -25000 |  |  | Daly Knob voltage (V): | -25882.7839
6 | 5 | 0 | 0 | Multiplier(V): | 0 |  |  | Multiplier Voltage (V): | 721.6117
7 | 5 | 0 | 0 | Daly Disc (V): | 5 |  |  | CTron Suppressor (V): | 2.0796
8 | 5 | 0 | 0 | CTron Sup(V): | 0

## PARAMS
Analysis Runtime Parameters
MB Associations |  |  | Mass Bias Beta Factors |  |  | Cycle/Block Data Equation Setup
ILF_MBBF | ExtBF_# |  | Reference: | Factor: |  |  | Isotope Ratio System: |  | Include on |  |  | Time Zero System: |  | Include on |  | LastRatio Equations: |  | Include on
1 |  |  | ExtBF_1 |  |  |  | Label (keep short): | Equation: | Summary: | Index: |  | Label (keep short): | Equation: | Summary: |  | Label (keep short): | Equation: | Summary:
2 |  |  | ExtBF_2 |  |  |  | Column Index | 6 | FALSE | 0 |  | Column Index | 11 | FALSE |  | Column Index | 15 | FALSE
3 |  |  | ExtBF_3 |  |  |  | Mean (After) | #VALUE! | TRUE | 1 |  | Intercept | #VALUE! | TRUE |  |  |  | FALSE
4 |  |  | ExtBF_4 |  |  |  | Std Dev% (After) | #VALUE! | TRUE | 2 |  | Std.Error | #VALUE! | TRUE |  |  |  | FALSE
5 |  |  | ExtBF_5 |  |  |  | Std Err% (After) | #VALUE! | TRUE | 3 |  | Std.Dev (%) | #VALUE! | TRUE |  |  |  | FALSE
6 |  |  | ExtBF_6 |  |  |  | Included | #VALUE! | TRUE | 4 |  | Slope | #VALUE! | TRUE |  |  |  | FALSE
7 |  |  | ExtBF_7 |  |  |  | Total | #VALUE! | TRUE | 5 |  | Total | 88 | TRUE |  |  |  | FALSE
8 |  |  | ExtBF_8 |  |  |  | Mean | #DIV/0! | TRUE | 6 |  |  |  | FALSE |  |  | 0 | TRUE
9 |  |  | ExtBF_9 |  |  |  | Std Dev | #DIV/0! | TRUE | 7 |  |  |  | FALSE |  |  |  | FALSE
10 |  |  | ExtBF_10 |  |  |  | Std.Dev% | #DIV/0! | TRUE | 8 |  |  |  | FALSE |  |  |  | FALSE
11 |  |  | ExtBF_11 |  |  |  | Std Err% | #DIV/0! | TRUE | 9 |  |  |  | FALSE |  |  |  | FALSE
12 |  |  | ExtBF_12 | [5 empty] | FALSE |  |  |  |  | FALSE |  |  |  | FALSE
13 |  |  | ExtBF_13 | [5 empty] | FALSE |  |  |  |  | FALSE |  |  |  | FALSE
14 |  |  | ExtBF_14 | [5 empty] | FALSE |  |  |  |  | FALSE |  |  |  | FALSE
15 |  |  | ExtBF_15 | [5 empty] | FALSE |  |  |  |  | FALSE |  |  |  | FALSE
16 |  |  | ExtBF_16 | [5 empty] | FALSE |  |  |  |  | FALSE |  |  |  | FALSE
17 |  |  | ExtBF_17 | [5 empty] | FALSE |  |  |  |  | FALSE |  |  |  | FALSE
18 |  |  | ExtBF_18 | [5 empty] | FALSE |  |  |  |  | FALSE |  |  |  | FALSE
19 |  |  | ExtBF_19 | [5 empty] | FALSE |  |  |  |  | FALSE |  |  |  | FALSE
20 |  |  | ExtBF_20 | [5 empty] | FALSE |  |  |  |  | FALSE |  |  |  | FALSE
[9 empty] | FALSE |  |  |  |  | FALSE |  |  |  | FALSE
Equation Control Parameters
| Control: |  | Notes:
| MBBF Pickup index: | 1 | Determines which GM value from BLOCK page to use for MBBF's
User Parameters |  | - from Sample List
UserP1 | UserP2 | UserP3 | UserP4 | UserP5 | UserP6 | UserP7 | UserP8 | UserP9 | UserP10 | UserP11 | UserP12 | UserP13 | UserP14 | UserP15 | UserP16 | UserP17 | UserP18 | UserP19 | UserP20 | UserP21 | UserP22 | UserP23 | UserP24 | UserP25 | UserP26 | UserP27 | UserP28 | UserP29 | UserP30
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Global User Table |  | - Global information
UserT1 | UserT2 | UserT3 | UserT4 | UserT5 | UserT6 | UserT7 | UserT8 | UserT9 | UserT10 | UserT11 | UserT12 | UserT13 | UserT14 | UserT15 | UserT16 | UserT17 | UserT18 | UserT19 | UserT20 | UserT21 | UserT22 | UserT23 | UserT24 | UserT25 | UserT26 | UserT27 | UserT28 | UserT29 | UserT30
User Constants Table |  | - values are loaded from the file specified by the Sample List | [5 empty] | Filename:
UserC1 | UserC2 | UserC3 | UserC4 | UserC5 | UserC6 | UserC7 | UserC8 | UserC9 | UserC10 | UserC11 | UserC12 | UserC13 | UserC14 | UserC15 | UserC16 | UserC17 | UserC18 | UserC19 | UserC20 | UserC21 | UserC22 | UserC23 | UserC24 | UserC25 | UserC26 | UserC27 | UserC28 | UserC29 | UserC30
K-Tail correction factors (KTailCorr) |  |  |  | - from IsoWorks
Collector: | Low8 | Low7 | Low6 | Low5 | Low4 | Low3 | Low2 | Ax Fara | Multiplier | High1 | High2 | High3 | High4 | High5 | High6 | High7 | High8
BL 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | bar: High1 to High8
BL 2 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | bar: High1 to High8
BL 3 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | bar: High1 to High8
BL 4 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | bar: High1 to High8
BL 5 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | bar: High1 to High8
BL 6 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | bar: High1 to High8
BL 7 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | bar: High1 to High8
BL 8 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | bar: High1 to High8
BL 9 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | bar: High1 to High8
BL 10 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | bar: High1 to High8
BL 11 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | bar: High1 to High8
BL 12 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | bar: High1 to High8
BL 13 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | bar: High1 to High8
BL 14 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | bar: High1 to High8
BL 15 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | bar: High1 to High8
BL 16 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | bar: High1 to High8
BL 17 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | bar: High1 to High8
BL 18 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | bar: High1 to High8
BL 19 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | bar: High1 to High8
BL 20 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | bar: High1 to High8
Baseline associations (BLAssoc) |  |  |  | History cycle labels
Sequence | BL- | BL+ |  | HC1 | HC2 | HC3
1 | 1 | 1
2 | 1 | 1
3 | 1 | 1
4 | 1 | 1
5 | 1 | 1
6 | 1 | 1
7 | 1 | 1
8 | 1 | 1
9 | 1 | 1
10 | 1 | 1
11 | 1 | 1
12 | 1 | 1
13 | 1 | 1
14 | 1 | 1
15 | 1 | 1
16 | 1 | 1
17 | 1 | 1
18 | 1 | 1
19 | 1 | 1
20 | 1 | 1

## CTRL
Workbook Parameters
No of Block Equations: | 9 | Cycle Data Start (start-1): | 88 | Checked: 23-Feb-2016
No of Cycle Equations: | 10 | Cycle Data End (n-1): | 88 | LiveData Support
No of TZ Cycle Equations: | 6 | Prev Data Start: | 77 | Office 2007-2010 Support
No of LastRatio Equations: | 8 | DP window start: | 0
User sheet version: | 4 | PreCycle Data Mode: | FALSE
Workbook Version: | 4 | Centre Channel: | RM
Run Terminated: | FALSE | Sample Name (ID): | GHR1 20200827-11
Jump to Next Blk: |  | Serial Number: | 6590
Show Tune Page: |  | Analysis Mode: | Isotopic
Hide Tune Page: |  | Analysis Name:
Zero Maths: |  | Method Name: | Pb-4-5-6-7-8 Daly 10-5-5-5-2 seconds
No.of Functions: | 14 | Cycles per Block: | 10
No. of User Functions: | 0 | Number of Blocks: | 100
Scratch Pad Function: | 0 | No. of Sequences: | 5
Ax Coll Position: | 8 | Total Ratios: | 1000
Templates Folder: | C:\IonVantage\IsoWorks\Templates | Ratios so far: | 88
Results Folder: | C:\IonVantage Projects\U-Pb.PRO\Data\GHR1 20200827-11 Pb.RAW | Current CYCLE: | 0
Reports Folder: | C:\IonVantage Projects\U-Pb.PRO\Data\Summary | Current BLOCK: | 9
Summary Sheet Print: | FALSE | Cycle Time:
Summary Create: | TRUE | IsoWorks Error Message: | Data processing ABORTED!
Summary WB name: |  | Analysis Start Time: | Sunday 30 August 2020 18:38:8
Summary Landscape: | TRUE | Analysis End Time:
Summary Archive: | FALSE | XL Template Name: | Default.XLT
Summary Template: | SUMMARY | XL Doc Name: | C:\IonVantage Projects\U-Pb.PRO\Data\GHR1 20200827-11 Pb.RAW\GHR1 20200827-11 Pb-6590
Application Folder: | C:\IonVantage | Global Workbook:
Monitoring Sheet Print: | FALSE | Report no Global WB found: | TRUE
Periodic Database: | Periodic | Active Printer: | HP LaserJet 4100 Series PCL6 on Ne02:
Sample/Vial Number: | 18 | Printer Paper Size ID: | 1
Rejection %: | 5 | Mass Spectrometer Type: | Thermal
Sigma Level: | 2 | Thermal Based MS: | TRUE
Notify by Email: | FALSE
Emailbox 1: |  | TFE Parameters
Emailbox 2: |  | Enabled: | FALSE
Attach results to Email: |  | Monitor Collector: | Unknown
Compress attachments: |  | Monitor Collector Type: | -
Email Comment: |  | Last Monitor Collector Inty: | 0
Notify Errors by Email: |  | Analogue Threshold Inty: | 0
Apply Baselines: | TRUE | IC Threshold Inty: | 1
Units - Blank: |  | Monitor Collector Index: | #N/A
Units - Standard: | CPS | Monitor Collector Resistor: | #N/A
Fit before points (C-Charts): | 0 | Analogue Threshold Min(%): | 20
Fit after points (C-Charts): | 0
No. BI History Cycles: | 3 | IC Threshold Min: | 1
BI History Cycle No.: | 0
Beam Interpolation (BI): | TRUE | Gain Control: | 0
DP View Mode: | Default | Control Filament: | Centre
Correct for BLKAPH: | FALSE | Aiming Intensity: | 0
Correct for STDBL: | 1 | Termination Filament Max: | 0
Correct for MSZeroes: | FALSE | Termination IonBeam Inty: | 0
Correct for BLKBL: | 1
Blank Subtraction Status: | None | No. Monitoring Properties: | 0
Last Summary Row: | 26 | Chart Monitoring Properties: | TRUE
Last Summary Chart Row: | 26 | Monitoring Frequency: | 5
Cycle charts (X-scale): | 20 | No. Monitor readings: | 18
Show C-Charts on Summary: | FALSE
Concurrently Acquiring Data: | TRUE
HT Scaling: | 1
Sample List Parameters
BATCH Filename: | C:\IonVantage Projects\U-Pb.PRO\SampleDB\T1307.spl
BATCH First Sample: | 18 | Auto Addition:
BATCH Last Sample: | 18 | Sample ID: | GHR1 20200827-11
BATCH Current Sample: | 18 | Conditions:
Data filename: | C:\IonVantage Projects\U-Pb.PRO\Data\GHR1 20200827-11 Pb | Submitter:
Sample Description: |  | Process:
MS File: | C:\IonVantage Projects\U-Pb.PRO\ACQUDB\Pb-4-5-6-7-8 Daly 10-5-5-5-2 seconds | Process Parameters:
MS Tune file: |  | Process Options:
Inlet File: |  | Acqu Process:
Inlet Prerun: |  | Acqu Process Parameters:
Inlet Postrun: |  | Acqu Process Options:
Inlet Switch: |  | Action On Error:
Autosampler File: |  | Fraction File:
Sample Location: | 18 | Plate Description:
Sample Position: | 1 | HPLC File:
Sample Group: |  | Quan Reference:
Job Code: | T1307 | Quan Method File: | C:\IonVantage Projects\U-Pb.PRO\MethDB\U-Pb.mdb
Task Code: |  | Quan Curve Database: | C:\IonVantage Projects\U-Pb.PRO\CurveDB\U-Pb.cdb
User name: |  | Quan LIMS File:
Sample Type: |  | Detector File:
Control:
TableData control parameters
CA_Filename:
TP_Filename:
MBA_Filename:
KTC_Filename:
SP_Filename:
BLA_Filename:
ILI_Command:
ILD_Filename:
(No events) ILD_Filename:
BL_Filename:

## SUMMARY
Summary Report |  | Data processing ABORTED!
Run parameters
Sample No.: | 18 | Sample ID: | #VALUE! |  |  |  | Method Name: | #VALUE!
Serial No.: | 6590 | File Text: | #VALUE! |  |  |  | Apply Baselines: | Yes
Sigma Level: | 2 | User Name: | #VALUE! |  |  |  | Centre Ch.: | #VALUE!
Reject %: | 5 | Beam Interp: | Yes |  |  |  | Print Date: | July 29, 2026 - 10:17 AM
Periodic DB: | #VALUE! | Flash Evap: | None |  |  |  | Acquire Date: | #VALUE!
User Constants: | Not Specified | [5 empty] | Summary WB: | None
Excel Filename: | #VALUE! | [5 empty] | Sample List Name: | #VALUE!
Inst. Settings:
Function |  | Mean (After) | Std Dev% (After) | Std Err% (After) | Included | Total | Mean | Std Dev | Std.Dev% | Std Err%
i204 |  | 535.6988 | 31.7934 | 3.5326 | 81 | 88 | 572.6744 | 207.0146 | 36.1487 | 3.8535
i205 |  | 116297.4912 | 31.724 | 3.5249 | 81 | 88 | 124319.3459 | 44869.8937 | 36.0924 | 3.8475
i206 |  | 119767.7419 | 31.7451 | 3.5272 | 81 | 88 | 128042.5286 | 46258.6996 | 36.1276 | 3.8512
i207 |  | 13497.1432 | 31.7062 | 3.5229 | 81 | 88 | 14429.9678 | 5209.9764 | 36.1053 | 3.8488
i208 |  | 35445.4994 | 31.7905 | 3.5323 | 81 | 88 | 37902.016 | 13716.6742 | 36.1898 | 3.8578
204/205 |  | 0.0046044 | 0.86859 | 0.095341 | 83 | 88 | 0.0046049 | 5.2815e-05 | 1.1469 | 0.12226
206/205 |  | 1.0298 | 0.1252 | 0.013911 | 81 | 88 | 1.0298 | 0.0016153 | 0.15685 | 0.01672
207/205 |  | 0.11607 | 0.21985 | 0.02458 | 80 | 88 | 0.11606 | 0.00034806 | 0.2999 | 0.031969
208/205 |  | 0.30486 | 0.32094 | 0.035228 | 83 | 88 | 0.30476 | 0.0011473 | 0.37645 | 0.04013
206/207 |  | 8.872 | 0.19983 | 0.022203 | 81 | 88 | 8.8733 | 0.025927 | 0.2922 | 0.031148
206/208 |  | 3.3784 | 0.28277 | 0.031227 | 82 | 88 | 3.3792 | 0.011596 | 0.34315 | 0.03658
206/204 |  | 223.6241 | 0.84465 | 0.093276 | 82 | 88 | 223.6635 | 2.6007 | 1.1628 | 0.12395
207/204 |  | 25.1908 | 0.86319 | 0.095909 | 81 | 88 | 25.2067 | 0.30267 | 1.2007 | 0.128
208/204 |  | 66.1359 | 0.85817 | 0.094769 | 82 | 88 | 66.1891 | 0.7854 | 1.1866 | 0.12649